## BOQ 09
TENDER FOR THE SUPPLY AND INSTALLATION OF MECHANICAL AND ELECTRICAL SERVICES USING ENVIRONMENTAL FRIENDLY PRODUCTS AT CARITAS COMMUNITY CENTRE, HAMRUN
Item | Description | Qty | Unit | Unit Rate including Taxes, Other Duties & Discounts but excluding of VAT € | Total Amount including Taxes, Other Duties & Discounts but excluding of VAT €
Bill No 9: Day Works Schedule, Contingency Sum ONLY |  |  |  | € | €
Labour
| Skilled Labourers | 200 | hour |  | 0
| Unskill Labourers / helpers | 200 | hour |  | 0
| Electricians | 200 | hour |  | 0
| Plant and machinery operators (Light Duty) | 100 | hour |  | 0
| Welders | 50 | hour |  | 0
| Metal Worker | 50 | hour |  | 0
| Pipe Fitter | 100 | hour |  | 0
Plant
| Hand held compactor | 100 | hour |  | 0
| Mini excavator | 100 | hour |  | 0
| Dumper capacity (1.0 cu m capacity) | 50 | hour |  | 0
| Compressor (including breaker) | 50 | hour |  | 0
| Hand Jigger or Similar Hand Power Tools | 200 | hour |  | 0
| Hi - ab up to 7 tonnes | 20 | hour |  | 0
| Cherry Picker | 20 | hour |  | 0
| Pressure bowser (incl. water) | 50 | hour |  | 0
| Skip Loader | 20 | no. |  | 0
| Dumping Charges | 100 | ton |  | 0
Total for Bill No 9: Day Works Schedule |  |  |  |  | 0

## BOQ 08
TENDER FOR THE SUPPLY AND INSTALLATION OF MECHANICAL AND ELECTRICAL SERVICES USING ENVIRONMENTAL FRIENDLY PRODUCTS AT CARITAS COMMUNITY CENTRE, HAMRUN
Item | Description | Qty | Unit | Unit Rate including Taxes, Other Duties & Discounts but excluding of VAT € | Total Amount including Taxes, Other Duties & Discounts but excluding of VAT €
Bill No 8: Extra Low Voltage Systems |  |  |  | € | €
8.00.00 | Fire Alarm and Detection System: Supply, install, connect, test and commission the following to BS 5839 Part 1: including all conduit, trunking, chasing penetrations, sleeves, wiring etc for a complete installation
8.00.01 | Analogue addressable 2 loop Fire Alarm Control Panel c/w power supply, battery backup etc. to EN 54 part 2, LPCB certified as specified | 1 | No. |  | 0
8.00.02 | Automatic Telephone dialler ( 4 channel) | 1 | No. |  | 0
8.01.00 | Supply, install , connect, test and commission fire alarm devices
8.01.01 | Analogue addressable multicriteria, optical smoke detector c/w base installed onto slab/ iron structure | 51 | No. |  | 0
8.01.02 | Analogue addressable multicriteria, heat detector c/w base installed onto slab/ iron structure | 16 | No. |  | 0
8.01.03 | Analogue addressable base electronic sounder beacon, for indoor use | 34 | No. |  | 0
8.01.04 | Analogue addressable electronic sounder beacon, 100dB(A) for indoor use | 5 | No. |  | 0
8.01.05 | Analogue addressable base mounted electronic sounder for indoor use | 5 | No. |  | 0
8.01.06 | Analogue addressable manual breakglass unit for indoor use | 16 | No. |  | 0
8.01.07 | Analogue addressable input/output interface unit / sounder circuit controller | 27 | No. |  | 0
8.01.08 | Isolating bases as required | 8 | No. |  | 0
8.01.09 | Door retainers 240V | 1 | No. |  | 0
8.01.10 | Clipping or pulling in conduit fire resistant screened cable as specified,2x1.5mm 2 +E and screen, PH 120 mins fire rated | 2000 | m |  | 0
8.02.00 | Testing and Commissioning of Fire Alarm System
8.02.01 | Penetrations, trenching, sleeving, sealing thereof and making good | 1 | Lump sum
8.02.02 | Supply of complete hand over documentation signed by Engineer as specified | 1 | Lump Sum |  | 0
8.02.03 | Testing, Commissioning and handing over of complete systems | 1 | Lump sum |  | 0
| Sub-total carried forward to next page |  |  |  | 0
| Carried forward from previous page |  |  |  | 0
8.02.04 | Operation and Maintenance Manual | 1 | Lump Sum |  | 0
8.02.05 | Training of client employees | 1 | Lump Sum
8.02.06 | Provision of Maintenance and Repair Contract covering the necessary visits according the suppliers' recommendations during the twenty-four (24) months Defects Liability Guarantee Period and thirty-six (36) months additional period | 1 | LS |  | 0
Note: To provide a Maintenance Programme which includes device type and frequency of visit
Total Bill for Fire Alarm System carried forward to summary of Bill No.8 - Extra Low Voltage Systems |  |  |  |  | 0
9.00.00 | Supply, install, test and commission a Closed Circuit TV as specified and according to drawings including all conduit, trunking, chasing, penetrations, sleeves, wiring and all other items necessary for a complete, functional and commissioned installation. (for PoE switches, wiring, data cabinets refer to Phone/Data section)
9.00.01 | Supply and install External CCTV camera 5MP powered over IP protocol installed in IP 65 housing, wall brackets etc. and including patch lead wiring suitable for external installation. | 7 | No |  | 0
9.00.02 | Supply and install External CCTV camera 1MP powered over IP protocol installed in IP 65 housing, wall brackets etc. and including patch lead wiring suitable for external installation. | 2 | No |  | 0
9.00.03 | Supply and install Internal CCTV dome camera 1MP powered over IP protocol for ceiling mounting and including patch lead wiring. | 1 | No |  | 0
9.00.04 | Rack mounted 16 -channel NVR as specified c/w 10 TB storage | 1 | No |  | 0
9.00.05 | Graphic analytics software complete with licences and maintenance fee for 1 year included | 1 | Lump Sum |  | 0
9.00.06 | Remote viewing workstation, c/w software and installation | 1 | Lump Sum |  | 0
9.00.07 | Monitoring PC c/w 32" LED Monitor | 1 | No |  | 0
9.00.08 | 42 " 4K Ultra HD Smart LED TV set | 1 | No |  | 0
9.00.09 | 600 VA UPS | 1 | No |  | 0
9.01.00 | Testing and Commissioning of CCTV System
9.01.01 | Penetrations, trenching, sleeving, sealing thereof and making good | 1 | Lump sum
9.01.02 | Supply of complete hand over documentation signed by Engineer as specified | 1 | Lump Sum |  | 0
9.01.03 | Testing, Commissioning and handing over of complete systems | 1 | Lump sum |  | 0
9.01.04 | Operation and Maintenance Manual | 1 | Lump Sum |  | 0
| Sub-total carried forward to next page |  |  |  | 0
| Carried forward from previous page |  |  |  | 0
9.01.05 | Training of client employees | 1 | Lump Sum |  | 0
9.01.06 | Provision of Maintenance and Repair Contract covering the necessary visits according the suppliers' recommendations during the twenty-four (24) months Defects Liability Guarantee Period and thirty-six (36) months additional period | 1 | LS |  | 0
Note: To provide a Maintenance Programme which includes device type and frequency of visit
Total Bill for CCTV System carried forward to summary of Bill No 8 - Extra Low Voltage Systems |  |  |  |  | 0
10.00.00 | Data and Phone Systems - Supply, install, test and commission a data and phone system as specified and according to drawings including all conduit, trunking, chasing, penetrations, sleeves, wiring and all other items necessary for a complete , functional and commissioned installation.
10.00.01 | MDF/PABX as specified complete with software and licence as specified | 1 | No |  | 0
10.00.03 | Basic analogue phone sets | 52 | No |  | 0
10.00.04 | Surge protection for incoming phone lines | 2 | No |  | 0
10.00.05 | PoE High power, long range ceiling mount wireless internet access point. RF: 2.4GHz, data rate 150Mbps | 21 | No |  | 0
10.00.06 | CAT6 FTP cable | 4500 | m |  | 0
10.00.07 | Termination of CAT 6 cables to patch panel c/w RJ45 | 236 | No |  | 0
10.00.08 | Termination of CAT 6 c/w RJ45 and faceplate | 181 | No |  | 0
10.00.09 | 48 port PoE switch | 2 | No |  | 0
10.00.10 | 48 port patch panel CAT 6 | 4 | No |  | 0
10.00.11 | Copper Patch lead RJ 45, CAT 6 | 204 | No |  | 0
10.00.12 | 20U wall mounted data cabinet c/w cable management, shelves and temperature control, fan and accessories | 2 | No |  | 0
10.00.13 | 600 VA UPS | 2 | No |  | 0
10.00.14 | Engage and assist phone and data service provider to connect the ELV systems as required | 1 | Lump Sum |  | 0
10.00.15 | Testing of Data Points including provision of test results in electronic format as specified | 204 | No |  | 0
10.01.00 | Testing and Commissioning of Phone & Data System
10.01.01 | Penetrations, trenching, sleeving, sealing thereof and making good | 1 | Lump sum
10.01.02 | Supply of complete hand over documentation signed by Engineer as specified | 1 | Lump Sum |  | 0
10.01.03 | Testing, Commissioning and handing over of complete systems | 1 | Lump sum |  | 0
10.01.04 | Operation and Maintenance Manual | 1 | Lump Sum |  | 0
10.01.05 | Training of client employees | 1 | Lump Sum
10.01.06 | Provision of Maintenance and Repair Contract covering the necessary visits according the suppliers' recommendations during the twenty-four (24) months Defects Liability Guarantee Period and thirty-six (36) months additional period | 1 | LS |  | 0
Note: To provide a Maintenance Programme which includes device type and frequency of visit
Total for Telephone and Data System carried forward to summary of Bill No. 8 - Extra Low Voltage Systems |  |  |  |  | 0
11.00.00 | Video Hall Porter System - Supply, install, test and commission a video hall porter system as specified and according to drawings including all conduit, trunking, chasing, penetrations, sleeves, wiring and all other items necessary for a complete , functional and commissioned installation.
11.00.01 | Video Hall porter integrated system with one indoor unit and two outdoor unit c/w all hadware and setting up for opening door or gate. Mounting height for gate, one to be suitable for cars and one for trucks. | 1 | Lump Sum |  | 0
Total for Video Hall Porter System carried forward to summary of Bill No. 8 - Extra Low Voltage Systems |  |  |  |  | 0
12.00.00 | Public Address System and Annunciation System - Supply, install, test and commission a public address system as specified and according to drawings including all conduit, trunking, chasing, penetrations, sleeves, wiring and all other items necessary for a complete , functional and commissioned installation.
12.00.01 | Recessed ceiling mounted loudspeaker 6 Watt as specified for indoor use | 6 | No |  | 0
12.00.02 | Tough rubber sheathed (TRS) 3 core x2.5mm2 rubber insulated | 120 | m |  | 0
12.00.03 | Supply and install desk type microphone with zone selector. | 1 | No |  | 0
12.00.04 | Audio amplifier rack with 2 no output circuits of 100 watts each, as specified. | 1 | No |  | 0
12.01.00 | Testing and Commissioning of Public Address System
12.01.01 | Penetrations, trenching, sleeving, sealing thereof and making good | 1 | Lump sum
12.01.02 | Supply of complete hand over documentation signed by Engineer as specified | 1 | Lump Sum
12.01.03 | Testing, Commissioning and handing over of complete systems | 1 | Lump sum
12.01.04 | Operation and Maintenance Manual | 1 | Lump Sum
12.01.05 | Training of client employees | 1 | Lump Sum
12.01.06 | Provision of Maintenance and Repair Contract covering the necessary visits according the suppliers' recommendations during the twenty-four (24) months Defects Liability Guarantee Period and thirty-six (36) months additional period | 1 | LS |  | 0
Note: To provide a Maintenance Programme which includes device type and frequency of visit
Total for Public Address System carried forward to summary of Bill No. 8 - Extra Low Voltage Systems |  |  |  |  | 0
13.00.00 | Disabled Persons Toilet Alarm - Supply, install, test and commission a nurse call system as specified and according to drawings including all conduit, trunking, chasing, penetrations, sleeves, wiring and all other items necessary for a complete , functional and commissioned installation.
13.00.01 | Disabled persons toilet alarm package complete with call button, reset button inside rooms and sounder and LED outside room. | 4 | No |  | 0
Total for Disabled Persons Toilet Alarm carried forward to summary of Bill No. 8 - Extra Low Voltage Systems |  |  |  |  | 0
14.00.00 | Access Control System - Supply, install, test and commission a nurse call system as specified and according to drawings including all conduit, trunking, chasing, penetrations, sleeves, wiring and all other items necessary for a complete , functional and commissioned installation.
14.00.01 | PC workstation for Core System and Alarm Graphic Access Control System | 1 | Lump Sum |  | 0
14.00.02 | Access Control management and application software and required licenses | 1 | Lump Sum |  | 0
14.00.03 | 600 VA UPS | 1 | No |  | 0
14.00.04 | Type A door access control complete with required equipment & wiring according to drawings and specifications | 14 | No |  | 0
14.00.05 | Type B door access control complete with required equipment & wiring according to drawings and specifications | 4 | No |  | 0
14.00.06 | Type C door access control complete with required equipment & wiring according to drawings and specifications | 1 | No |  | 0
14.00.07 | Type D door access control complete with required equipment & wiring according to drawings and specifications | 2 | No |  | 0
14.00.08 | Type E door access control complete with required equipment & wiring according to drawings and specifications | 3 | No |  | 0
14.00.09 | Type F door access control complete with required equipment & wiring according to drawings and specifications | 1 | No |  | 0
14.00.10 | Wiring up of on line access control system and all related hardware and setting up as per client's requirements | 1 | Lump sum |  | 0
14.01.00 | Testing and Commissioning of Access Control System
14.01.01 | Penetrations, trenching, sleeving, sealing thereof and making good | 1 | Lump sum
14.01.02 | Supply of complete hand over documentation signed by Engineer as specified | 1 | Lump Sum |  | 0
14.01.03 | Testing, Commissioning and handing over of complete systems | 1 | Lump sum |  | 0
14.01.04 | Operation and Maintenance Manual | 1 | Lump Sum |  | 0
14.01.05 | Training of client employees | 1 | Lump Sum
14.01.06 | Provision of Maintenance and Repair Contract covering the necessary visits according the suppliers' recommendations during the twenty-four (24) months Defects Liability Guarantee Period and thirty-six (36) months additional period | 1 | LS |  | 0
Note: To provide a Maintenance Programme which includes device type and frequency of visit
Total for Access Control System carried forward to summary of Bill No. 8 - Extra Low Voltage Systems |  |  |  |  | 0
15.00.00 | Traffic Management System - Supply, install, test and commission a traffic management system specified and according to drawings including all conduit, trunking, chasing, penetrations, sleeves, wiring and all other items necessary for a complete , functional and commissioned installation.
15.00.01 | Metal gates for vehicles as specified | 1 | No |  | 0
15.00.02 | Electric garage door roller shutter for smoking area | 1 | No |  | 0
15.00.03 | Metal gate to external for smoking area as specified | 1 | No |  | 0
15.00.04 | Integration of access control system and video hall porter system with a motorised gate for vehicles | 1 | No
15.00.05 | Barrier induction loops and obstacle detection system c/w sensitivity controller and street chasing | 1 | Lump Sum |  | 0
15.00.06 | Wiring up of equipment for a complete integrated operational system | 1 | Lump Sum |  | 0
15.00.07 | Programming of system to the requirements of the end users | 1 | Lump Sum |  | 0
15.00.08 | Remote controller reader | 1 | No |  | 0
15.00.09 | Remote controllers for gates | 3 | No |  | 0
15.01.00 | Testing and Commissioning of Traffic Management System
15.01.01 | Supply of complete hand over documentation signed by Engineer as specified | 1 | Lump Sum |  | 0
15.01.02 | Testing, Commissioning and handing over of complete systems | 1 | Lump sum |  | 0
15.01.03 | Operation and Maintenance Manual | 1 | Lump Sum |  | 0
15.01.04 | Training of client employees | 1 | Lump Sum |  | 0
15.01.05 | Provision of Maintenance and Repair Contract covering the necessary visits according the suppliers' recommendations during the twenty-four (24) months Defects Liability Guarantee Period and thirty-six (36) months additional period | 1 | LS |  | 0
Note: To provide a Maintenance Programme which includes device type and frequency of visit
Total for Traffic Management System carried forward to summary of Bill No 8 - Extra Low Voltage Systems |  |  |  |  | 0
16.00.00 | Security Alarm Systems - Supply, install, test and commission security alarm systems specified and according to drawings including all conduit, trunking, chasing, penetrations, sleeves, wiring and all other items necessary for a complete , functional and commissioned installation.
16.01.00 | Intruder Alarm System
16.01.01 | Intruder Alarm panel for 8 zones to EN50131 | 1 | No |  | 0
16.01.02 | Dual technology wall mounted wired PIR | 21 | No |  | 0
16.01.03 | Expander units | 1 | Lump Sum |  | 0
16.01.04 | Dual technology ceiling mounted wired PIR | 1 | No |  | 0
16.01.05 | LCD Key pads | 5 | No |  | 0
16.01.06 | Internal sounder | 11 | No |  | 0
16.01.07 | External sounder/beacon | 2 | No |  | 0
16.01.08 | 6 core screened Intruder alarm wiring | 1 | Lump Sum |  | 0
16.01.09 | Connection and programming of built-in or existing auto dialler | 1 | Lump Sum |  | 0
16.02.00 | Panic Alarm System
16.02.01 | LED display panel | 1 | No |  | 0
16.02.02 | Signal transmitter for bleeper | 1 | No |  | 0
16.02.03 | Mobile bleeper | 1 | No |  | 0
16.02.04 | Panic alarm buttons | 16 | No |  | 0
16.02.05 | LED above door | 15 | No |  | 0
16.02.06 | Screened wiring of panic alarm system | 1 | Lump Sum |  | 0
16.03.00 | Testing and Commissioning of Security Alarm Systems
16.03.01 | Supply of complete hand over documentation signed by Engineer as specified | 1 | Lump Sum |  | 0
16.03.02 | Testing, Commissioning and handing over of complete systems | 1 | Lump sum |  | 0
16.03.03 | Operation and Maintenance Manual | 1 | Lump Sum |  | 0
16.03.04 | Training of client employees | 1 | Lump Sum |  | 0
16.03.05 | Provision of Maintenance and Repair Contract covering the necessary visits according the suppliers' recommendations during the twenty-four (24) months Defects Liability Guarantee Period and thirty-six (36) months additional period | 1 | LS |  | 0
Note: To provide a Maintenance Programme which includes device type and frequency of visit
Total for Traffic Management System carried forward to summary of Bill No.8 - Extra Low Voltage Systems |  |  |  |  | 0
Summary of Bill No. 8 - Extra Low Voltage Systems
8 | Fire Detection and Alarm System |  |  |  | 0
9 | CCTV Systems |  |  |  | 0
10 | Data and Phone Systems |  |  |  | 0
11 | Video Hall Porter |  |  |  | 0
12 | Public Address |  |  |  | 0
13 | Disabled Persons Toilet Alarm |  |  |  | 0
14 | Access Control |  |  |  | 0
15 | Traffic Management Systems |  |  |  | 0
16 | Security Alarm Systems |  |  |  | 0
Total for Bill No. 8 Extra Low Voltage Systems carried forward to Summary of Bills |  |  |  |  | 0

## BOQ 07
TENDER FOR THE SUPPLY AND INSTALLATION OF MECHANICAL AND ELECTRICAL SERVICES USING ENVIRONMENTAL FRIENDLY PRODUCTS AT CARITAS COMMUNITY CENTRE, HAMRUN
Item | Description | Qty | Unit | Unit Rate including Taxes, Other Duties & Discounts but excluding of VAT € | Total Amount including Taxes, Other Duties & Discounts but excluding of VAT €
Bill No 7: Passenger Lift |  |  |  | € | €
7.00.00 | Supply, intall, test and commission, passenger lift
7.00.01 | Supply, delivery and installation as specified of MRRL traction lift for 10 passenger, with 6 stops as specified for a fully functional and compliant lift. This includes all the necessary items of works, including electrical works, as specified in the attached Tender Document. | 1 | Lump sum |  | 0
All works necessary for the complete and successful installation of the lift shall be deemed to be included in the price.
Tenderers are required to carefully examine the site and the tender specifications as all items required must be catered for in the tendered rate. Electrical Supply up to a main isolator shall be provided by third parties. Proof of recognition by the brand mother company has to be submitted at tendering stage.
7.01.00 | Supply, intall, test and commission, passenger/goods lift
7.01.01 | Supply, delivery and installation as specified of MRRL for 6 passenger and goods, traction lift with 4 stops as specified for a fully functional and compliant lift. This includes all the necessary items of works, including electrical works, as specified in the attached Tender Document. | 1 | Lump sum |  | 0
All works necessary for the complete and successful installation of the lift shall be deemed to be included in the price.
Tenderers are required to carefully examine the site and the tender specifications as all items required must be catered for in the tendered rate. Electrical Supply up to a main isolator shall be provided by third parties. Proof of recognition by the brand mother company has to be submitted at tendering stage.
7.02.00 | Testing and Commissioning of Passenger Lift
7.02.01 | Certification, testing and handing over lifts in perfect running order. | 1 | Lump sum |  | 0
7.02.02 | ACAB’s six-monthly reports for the duration of the Guarantee Period, i.e. 24 months | 1 | Lump sum |  | 0
7.02.03 | Supply of complete hand over documentation signed by Engineer as specified | 1 | Lump Sum |  | 0
7.02.04 | Testing, Commissioning and handing over of complete systems | 1 | Lump sum |  | 0
7.02.05 | Operation and Maintenance Manual | 1 | Lump Sum |  | 0
7.02.06 | Training of client employees | 1 | Lump Sum
7.02.07 | Provision of Maintenance and Repair Contract covering the necessary visits according the suppliers' recommendations during the twenty-four (24) months Defects Liability Guarantee Period and thirty-six (36) months additional period | 1 | LS |  | 0
Note: To provide a Maintenance Programme which includes device type and frequency of visit
Total for Passenger Lift carried forward to summary of Bill No. 7 -Passenger Lift |  |  |  |  | 0

## BOQ 06
TENDER FOR THE SUPPLY AND INSTALLATION OF MECHANICAL AND ELECTRICAL SERVICES USING ENVIRONMENTAL FRIENDLY PRODUCTS AT CARITAS COMMUNITY CENTRE, HAMRUN
Item | Description | Qty | Unit | Unit Rate including Taxes, Other Duties & Discounts but excluding of VAT € | Total Amount including Taxes, Other Duties & Discounts but excluding of VAT €
Bill No 6: Lightning Protection |  |  |  | € | €
6.00.00 | Supply, install, test and commission, lightning protection system inclusive of bare and PVC sheeted copper tape 25mm x 3mm, brass connecting devices, plastic brackets, earth electrodes and other material necessary for a complete and functional installation.
6.00.01 | High conductivity copper tape to BS EN 13601 25mm x3mm bare copper. | 200 | m |  | 0
6.00.02 | High conductivity copper tape to BS EN 13601 25mm x3mm PVC coated. | 180 | m |  | 0
6.00.02 | Test points as specified | 10 | No. |  | 0
6.00.03 | Earth electrodes 3.0 metre x 15mm and connect to copper tape | 10 | No. |  | 0
6.00.04 | Inspection chamber c/w cover for light loads PVC 20x20cm | 6 | No. |  | 0
6.00.05 | Inspection chamber c/w cover B125 20x20cm | 4 | No. |  | 0
6.00.05 | Provide certification showing total resultant impedance of the system | 1 | Lump sum
6.00.06 | To bond all metal structures and services at roof level | 1 | Lump sum |  | 0
6.01.00 | Testing and Commissioning of Lightning Protection
6.01.01 | Penetrations, trenching, sleeving, sealing thereof and making good | 1 | Lump sum
6.01.02 | Supply of complete hand over documentation signed by Engineer as specified | 1 | Lump Sum
6.01.03 | Testing, Commissioning and handing over of complete systems | 1 | Lump sum |  | 0
6.01.04 | Operation and Maintenance Manual | 1 | Lump Sum |  | 0
6.01.05 | Training of client employees | 1 | Lump Sum
6.01.06 | Provision of Maintenance and Repair Contract covering the necessary visits according the suppliers' recommendations during the twenty-four (24) months Defects Liability Guarantee Period and thirty-six (36) months additional period | 1 | LS |  | 0
Note: To provide a Maintenance Programme which includes device type and frequency of visit
Total for Lightning Protection carried forward to summary of Bill No. 6 - Lightning Protection |  |  |  |  | 0

## BOQ 05
TENDER FOR THE SUPPLY AND INSTALLATION OF MECHANICAL AND ELECTRICAL SERVICES USING ENVIRONMENTAL FRIENDLY PRODUCTS AT CARITAS COMMUNITY CENTRE, HAMRUN
Item | Description | Qty | Unit | Unit Rate including Taxes, Other Duties & Discounts but excluding of VAT € | Total Amount including Taxes, Other Duties & Discounts but excluding of VAT €
Bill No 5: Hot and Cold Water Systems |  |  |  | € | €
5.00.00 | Supply, install, test and commission hot and cold water systems, and sanitary fittings
5.00.01 | Supply and installation of sanitary fittings, handicapped accessories and other accessories refer to Civil works. Kitchen mixers to be supplied by kitchen equipment supplier and terminations to be coordinated.
5.00.02 | Spray single lever, mixer tap for WHB with extended lever for handicapped c/w non-return valves | 5 | No |  | 0
5.00.03 | Spray single lever, mixer tap for WHB c/w non-return valves | 18 | No |  | 0
5.00.04 | Spray single lever, mixer tap for ktichen sink c/w non-return valves | 6 | No |  | 0
5.00.04 | Shower cubicle single water mixer and fixed shower head c/w no-return valves | 7 | No |  | 0
5.00.05 | Bip-Tap 1/2 inch | 8 | No |  | 0
5.00.06 | Urinal flushing system for 3 urinals | 6 | No |  | 0
5.01.00 | Supply and install hot and cold water distribution pipework in HDPE/PP-R including UV Protection, fittings, brackets, wall plates for a complete and tested installation according to drawings and specifications as follows:
5.01.01 | DN 15 pipe work | 460 | m |  | 0
5.01.02 | DN 25 pipe work | 55 | m |  | 0
5.01.03 | DN 32 pipe work | 270 | m |  | 0
5.01.04 | DN 40 pipe work | 260 | m |  | 0
5.01.05 | DN 65 pipe work | 4 | m |  | 0
5.01.06 | Insulation for Hot water pipework DN 25 | 30 | m |  | 0
5.01.07 | Insulation for Hot water pipework DN 32 | 150 | m |  | 0
5.01.08 | Insulation for Hot water pipework DN 40 | 90 | m |  | 0
5.01.09 | Water bowser connection | 1 | Lump Sum |  | 0
5.02.00 | Valves for HDPE/PP-R pipework
5.02.01 | Isolating Valve DN 20 | 1 | No |  | 0
5.02.02 | Isolating Valve DN 25 | 5 | No |  | 0
5.02.03 | Isolating Valve DN 32 | 35 | No |  | 0
| Sub-total carried forward to next page |  |  |  | 0
| Carried forward from previous page |  |  |  | 0
5.02.04 | Isolating Valve DN 40 | 8 | No |  | 0
5.02.05 | Isolating Valve DN 65 | 1 | No |  | 0
5.02.06 | Non return valve DN 65 | 0 | No |  | 0
5.02.07 | Air valves DN 15 | 1 | No |  | 0
5.02.08 | Manual flow hot water balancing and control valve with pressure tappings for flow measurement, DN 40 | 6 | No |  | 0
5.02.09 | Chrome plated Angle valves 1/2 inch BSP | 83 | No |  | 0
5.02.10 | Chrome plated Flexible connection 1/2" BSP for angle valves | 83 | No |  | 0
5.03.00 | Supply, transport, install test and commission including all fittings, bracketing and anchoring for a complete installation.
5.03.01 | Potable water storage tank as specified, 3,000 litres capacity, complete with supporting RSJ's as required | 2 | No |  | 0
5.03.02 | Storage tanks ball float valve 1/2 inch, all brass body and plastic float | 2 | No |  | 0
5.03.03 | Engage and assist WSC to connect with water supply | 1 | Lump Sum |  | 0
5.03.04 | Water booster pump set P1, invertor driven complete with strainers, non-return valves, flexible connectors and shut off valves as specified | 1 | No |  | 0
5.03.05 | Hot water circulating pump set, complete with strainers, non-return valves, flexible connectors, pressure gauges, and shut off valves as specified | 1 | No |  | 0
5.03.06 | Submersible pump P3 complete with , lifting chain, control panel, dry run protection and on/off float switch plus control to roof tank | 2 | No |  | 0
5.03.07 | Water softener, package type as specified 21 litre cabinet, 110 l/min | 2 | No |  | 0
5.03.08 | LPG fired hot water instantaneous heater complete with supply and return headers, and controls as specified | 2 | No |  | 0
5.03.09 | Hot water boiler chimney for a complete system as specified. | 2 | No |  | 0
5.03.10 | Supply and install including all in HDPE/PP-R pipework, fittings,and controls for instantaneous hot water system in the plant room for a complete installation | 1 | Lump Sum |  | 0
5.03.11 | Supply and install including all fittings boiler vent pipes and boiler make-up | 1 | Lump Sum |  | 0
5.03.12 | Surge tank for hot water circuit | 1 | Lump Sum |  | 0
| Sub-total carried forward to next page |  |  |  | 0
| Carried forward from previous page |  |  |  | 0
5.03.13 | This item includes any drilling of holes through walls, floors and ceilings, chasing and sealing thereoff, if and when required and support of equipment including the installation of RSJ's if required. Design of RSJ's to be approved by architect. | 1 | Lump Sum |  | 0
5.03.14 | Electrical connection between power supplies and all related equipment | 1 | Lump Sum |  | 0
5.03.15 | Any other equipment not included in BOQ or specifications or drawings required for a complete installation of the systems | 1 | Lump Sum
5.03.16 | Grease trap for kitchen, as specified | 1 | No |  | 0
5.04.00 | Supply, transport, install test and commission LPG distribution pipework in heavy gauge galvanised steel, painted pipework including fittings, brackets, for a complete and tested installation according to drawings and specifications as follows:
5.04.01 | LPG Manifold for 4 in number gas cylinders c/w high pressure hoses. | 1 | No |  | 0
5.04.02 | 1x40Kg/hr combined first stage regulator with UPSO/OPSO protection | 1 | No |  | 0
5.04.03 | 30Kg/hr combined second stage regulator with UPSO/OPSO protection (37 mbar) | 2 | No |  | 0
5.04.04 | Heavy gauge EN10255, 1" dia. Galvanised Pipework c/w galvanized brackets, fittings, flexibles and primer and yellow enemel finish paint for LPG for a complete system | 10 | m |  | 0
5.04.05 | Supply, install, test and commission LPG detector c/w sounder and relay output signal to fire alarm | 2 | No |  | 0
5.04.06 | Clipping or pulling in conduit fire resistant screened cable as specified 2x1.5mm2 + E, PH120 mins fire rated, from LPG detectors to solenoid to emergency shut off | 10 | m |  | 0
5.04.07 | Quarter turn shut off valve 1" c/w spherical seating union | 5 | No |  | 0
5.04.08 | Normally closed LPG solenoid valve II 2 G Ex mb ii T3, size 1", to be activated by fire alarm | 2 | No |  | 0
5.04.09 | Emergency push botton, LPG and Power shut off. To include all control wiring and switchgear for the kitchen electrical DB. | 2 | No |  | 0
5.04.10 | Pressure test of complete installation, warning signs | 1 | Lump sum |  | 0
5.04.11 | Earthing for LPG pipework | 1 | Lump sum |  | 0
5.05.00 | Supply, transport, install test and commission diesel fuel distribution pipework in heavy gauge black steel, painted pipework including fittings, brackets, for a complete and tested installation according to drawings and specifications as follows:
5.05.01 | Diesel fuel fill point cabinet c/w fuel tank level indicator | 1 | Lump sum |  | 0
5.05.02 | Black steel non return valve heavy gauge DN50 | 1 | No |  | 0
| Sub-total carried forward to next page |  |  |  | 0
| Carried forward from previous page |  |  |  | 0
5.05.03 | Heavy gauge EN10255, 1" dia. Black steel Pipework c/w galvanized brackets, fittings, flexibles and primer and brown enemel finish paint for diesel for a complete system | 40 | m |  | 0
5.05.04 | DN 50 HDPE pipework for underground installation, adaptors, fittings for a complete installation | 3 | m |  | 0
5.05.05 | DN 40 diesel flow meter | 1 | No |  | 0
5.06.00 | Testing and Commissioning the hot and cold water installation,
5.06.01 | Penetrations, chasing in walls as required and sealing thereof | 1 | Lump Sum |  | 0
5.06.02 | Supply of complete hand over documentation signed by Engineer as specified | 1 | Lump Sum |  | 0
5.06.03 | Test, commission and handover systems to client | 1 | Lump Sum |  | 0
5.06.04 | Operation and Maintenance Manual | 1 | Lump Sum
5.06.05 | Training of client employees | 1 | Lump Sum
5.06.06 | Provision of Maintenance and Repair Contract covering the necessary visits according the suppliers' recommendations during the twenty-four (24) months Defects Liability Guarantee Period and thirty-six (36) months additional period | 1 | LS |  | 0
Note: To provide a Maintenance Programme which includes device type and frequency of visit
Total Amount for Bill No. 5 Hot and cold water systems: carried forward to Summary of Bills |  |  |  |  | 0

## BOQ 04
TENDER FOR THE SUPPLY AND INSTALLATION OF MECHANICAL AND ELECTRICAL SERVICES USING ENVIRONMENTAL FRIENDLY PRODUCTS AT CARITAS COMMUNITY CENTRE, HAMRUN
Item | Description | Qty | Unit | Unit Rate including Taxes, Other Duties & Discounts but excluding of VAT € | Total Amount including Taxes, Other Duties & Discounts but excluding of VAT €
Bill No 4: Fire Fighting Equipment |  |  |  | € | €
4.00.00 | Supply, install, test and commission the following fire fighting systems as specified and indicated on drawings.
4.01.00 | Dry Landing Valve System
4.01.01 | Medium gauge EN10255, 4" dia. Galvanised Pipework c/w galvanized brackets, fittings and labels | 25 | m |  | 0
4.01.02 | Medium gauge EN10255, 2 1/2" dia. Galvanised Pipework c/w galvanized brackets, fittings and labels | 3 | m |  | 0
4.03.01 | Flanged oblique globe type Landing valve 2 1/2" BS 336 female instantaneous c/w plug and chain | 6 | No. |  | 0
4.03.02 | 1" air vent c/w shut off valve | 1 | No. |  | 0
4.03.03 | Flanged 4" twin fire brigade inlets c/w cabinet | 1 | No. |  | 0
4.01.00 | Supply, install, test and commission portable fire extinguishers as specified.
4.01.01 | Carbon dioxide 2kg | 8 | No. |  | 0
4.01.02 | Foam AFFF 3% 6 ltrs | 8 | No. |  | 0
4.01.03 | Dry powder 6kg | 6 | No. |  | 0
4.01.04 | Wet Chemical 6ltrs | 2 | No. |  | 0
4.01.05 | Photoluminescent plastic FIRE EXTINGUISHER sign 75mm x 200 mm x 2mm (thick) | 24 | No. |  | 0
4.01.06 | Fire blanket in kitchen: material weight 475g/m² and size 1.8mx1.2m. Blanket to be in a rigid uPVC container. | 2 | No. |  | 0
4.02.00 | Miscellaneous Items as specified |  |  |  | 0
4.02.01 | Evacuation plans for bedrooms in A4, to be fitted on walls as per fire safety drawings and to BS 9999 | 5 | No. |  | 0
4.02.02 | Evacuation plans A3 in colour as required by the standard BS 9999,to be affixed on walls as indicated | 6 | No. |  | 0
4.02.03 | Penetrations, chasing in walls as required and sealing thereof | 1 | Lump Sum |  | 0
4.02.04 | Supply of complete hand over documentation signed by Engineer as specified | 1 | Lump Sum |  | 0
4.02.05 | Test, commission and handover systems to client | 1 | Lump Sum |  | 0
4.02.06 | Operation and Maintenance Manual | 1 | Lump Sum |  | 0
4.02.07 | Training of client employees | 1 | Lump Sum |  | 0
4.02.08 | Provision of Maintenance and Repair Contract covering the necessary visits according the suppliers' recommendations during the twenty-four (24) months Defects Liability Guarantee Period and thirty-six (36) months additional period | 1 | LS |  | 0
Note: To provide a Maintenance Programme which includes device type and frequency of visit
Total fo Bill No. 4 Fire Fighting Systems carried forward to Summary of Bills |  |  |  |  | 0

## BOQ 03
TENDER FOR THE SUPPLY AND INSTALLATION OF MECHANICAL AND ELECTRICAL SERVICES USING ENVIRONMENTAL FRIENDLY PRODUCTS AT CARITAS COMMUNITY CENTRE, HAMRUN
Item | Description | Qty | Unit | Unit Rate including Taxes, Other Duties & Discounts but excluding of VAT € | Total Amount including Taxes, Other Duties & Discounts but excluding of VAT €
Bill No 3: HVAC Systems |  |  |  | € | €
3.00.00 | Supply, transport, install, test and commission the following HVAC systems according to specifications:
Supply and install inverter driven VRF System airconditioning system comprising of outdoor and several indoor units, connecting copper pipework, necessary controls, wired wall-mounted controllers, for a complete system, comprising of:
This is the minimum cooling capacity based on an indoor temperature of 27 deg. CDB, 19.5 deg.CWB and outdoor temperature of 40 deg. CDB
3.00.01 | VRF outdoor unit OU-5, 37 KW to connect with indoor units | 1 | No |  | 0
3.00.02 | VRF outdoor unit OU-6, 45KW to connect with indoor units | 2 | No |  | 0
3.00.03 | VRF outdoor unit OU-7, 54KW to connect with indoor units | 1 | No |  | 0
3.00.04 | VRF outdoor unit OU-8, 60KW to connect with indoor units | 1 | No |  | 0
3.00.05 | High wall Type Indoor Unit, IU-1, for VRF system 2.6KW | 2 | No |  | 0
3.00.06 | Cassette Type Indoor Unit, IU-4, for VRF system 2.6KW | 40 | No |  | 0
3.00.07 | Cassette Type Indoor Unit, IU-5, for VRF system 3.5KW | 30 | No |  | 0
3.00.08 | Cassette Type Indoor Unit, IU-6, for VRF system 4.4KW | 9 | No |  | 0
3.00.09 | Cassette Type Indoor Unit, IU-7, for VRF system 5.34KW | 4 | No |  | 0
3.00.10 | Cassette Type Indoor Unit, for VRF system 7.1KW | 9 | No |  | 0
3.00.11 | Interconnecting controls and wiring. Wiring including any necessary conduit, fittings etc. between the power supply points and the equipment. The cost shall include any isolators if and as required. | 1 | Lump Sum
3.00.12 | Fully lagged drain pipes shall be installed according to the standard gradients applicable to the nearest water gulley | 1 | Lump Sum |  | 0
3.00.13 | Main runs of double refrigerant insultated copper pipes complete with branches, insulation, supports etc. between indoor and outdoor units. Cable trays included as per specifications. | 1 | Lump Sum |  | 0
3.00.14 | Centralised controller/programmer | 5 | No |  | 0
3.00.15 | Wired Remote controllers as specified for the indoor units. | 55 | No |  | 0
3.00.16 | This item includes any cranage, drilling of holes through walls, floors and ceilings, chasing and sealing thereoff, steel structure to support of equipment including the installation of RSJ's if required. Design of RSJ's to be approved by architect. | 1 | Lump Sum |  | 0
| Sub-total carried forward to next page |  |  |  | 0
| Carried forward from previous page |  |  |  | 0
3.00.17 | Pressure test copper pipework of each system between outdoor unit and indoor units for approval by the Engineer | 1 | Lump Sum |  | 0
3.00.18 | Allow for plastic sleeves around pipework in all brick walls & gypsum walls including filling of gap between pipe/insulation & sleeve | 1 | Lump Sum |  | 0
3.01.00 | Ventilation/ Extract systems
3.01.01 | In-line duct supply fan EF-1 complete, antivibration mounts, weather louvres and flexibles , 126m3/hr | 2 | No |  | 0
3.01.02 | In-line duct supply fan SF-1 complete, antivibration mounts, weather louvres and flexibles , 126m3/hr | 1 | No |  | 0
3.01.03 | Extract fan type 1, roof mounted axial flow fan EF-2, 225m3/hr | 1 | No |  | 0
3.01.04 | Extract fan type 1, roof mounted axial flow fan EF-3, 675m3/hr | 1 | No |  | 0
3.01.05 | In-line duct extract fan EF-4 ( 4,750m3/hr at 50Pa) complete with GF 70 filter, antivibration mounts, wall cawl, weather louvres and flexibles. | 1 | No |  | 0
3.01.06 | Heat recovery unit, HRV-3, ( approx 660m3/hr)complete with G4 filter, speed controller, sound attenuator, weather louvre, bird mesh for maximum dB(A)3m 46 | 2 | No |  | 0
3.01.07 | Heat recovery unit, HRV-4, ( approx 2,300m3/hr)complete with G4 filter, speed controller, sound attenuator, weather louvre, bird mesh for maximum dB(A)3m 46 | 2 | No |  | 0
3.01.08 | Supply grille SD3/ 250x250 with volume control damper | 8 | No |  | 0
3.01.09 | Supply grille SD4/ 250x250 with volume control damper | 9 | No |  | 0
3.01.10 | Extract grille RG 250x250mm with constant volume control damper | 9 | No |  | 0
3.01.11 | Supply and extract duct in polyurethane sandwich panels 20mm with 50 micron aluminium foil finish c/w all transformations, hangers, air devices, access panels, offsets and flexibles to equiment, weather cowl and bird mesh, etc, to make a complete installation | 70 | m2 |  | 0
3.01.12 | Supply and extract flexible round duct 100mm diameter c/w all fitting, transformations, hangers, air devices, access panels, offsets and flexibles to equiment, etc, to make a complete installation | 12 | m
3.01.13 | Supply and extract PVC round duct 100mm diameter c/w all fitting, transformations, hangers, air devices, access panels, offsets and flexibles to equiment, etc, to make a complete installation | 18 | m
3.01.14 | Door Contact switch built-in into window/door complete with wiring, to switch off room indoor unit. | 6 | No |  | 0
| Sub-total carried forward to next page |  |  |  | 0
| Carried forward from previous page |  |  |  | 0
3.01.15 | This item includes cranage, drilling of holes through walls, floors and ceilings, chasing and sealing thereoff, if and when required and support of equipment including the installation of steel structure. Design of RSJ's to be approved by architect. | 1 | Lump Sum |  | 0
3.01.16 | Supply and fix galvanised cable trays pre-galvanised to BS EN 10142 standards and shall include all supports and fasteners 200m wide with metal cover for roof and shafts | 10 | m |  | 0
3.01.15 | Pressure test copper pipework of each system between outdoor unit and indoor units for approval by the Engineer | 1 | Lump Sum |  | 0
3.01.16 | Supply and install galvanised modular levelling channel platforms with webbed moulded bases for all VRF Outdoor Units | 1 | Lump Sum |  | 0
3.02.00 | Testing and Commissioning of HVAC Installation
3.02.01 | Supply of complete hand over documentation signed by Engineer as specified | 1 | Lump Sum |  | 0
3.02.02 | Test, commission and handover systems to client | 1 | Lump Sum |  | 0
3.02.03 | Operation and Maintenance Manual | 1 | Lump Sum |  | 0
3.02.04 | Training of client employees | 1 | Lump Sum
3.02.05 | Provision of Maintenance and Repair Contract covering the necessary visits according the suppliers' recommendations during the twenty-four (24) months Defects Liability Guarantee Period and thirty-six (36) months additional period, including anti-bacterial treatment for all indoor units (heat exchanger fins and drain pan) and anti-rust treatment for outdoor units including the equipment supports and fins. Any chemical used shall be ozone friendly and bio-degradable. | 1 | LS |  | 0
Note: To provide a Maintenance Programme which includes device type and frequency of visit
Total Amount for Bill No. 3 HVAC carried forward to Summary of Bills |  |  |  |  | 0

## BOQ 02
TENDER FOR THE SUPPLY AND INSTALLATION OF MECHANICAL AND ELECTRICAL SERVICES USING ENVIRONMENTAL FRIENDLY PRODUCTS AT CARITAS COMMUNITY CENTRE, HAMRUN
Item | Description | Qty | Unit | Unit Rate including Taxes, Other Duties & Discounts but excluding of VAT € | Total Amount including Taxes, Other Duties & Discounts but excluding of VAT €
Bill No 2: Electrical Power and Lighting Installations |  |  |  | € | €
2.00.00 | Supply , install, test and commission electrical lighting systems as specified for a fully operational, tested and commissioned system inclusive of all material, conduit, wiring, connections, cabling to distribution boards and terminations as follows:
2.00.01 | Internal light points | 327 | No |  | 0
2.00.02 | Internal emergency light points | 39 | No |  | 0
2.00.03 | Internal non maintained emergency light points | 120 | No |  | 0
2.00.04 | External light points | 50 | No |  | 0
2.00.05 | PIR controlled points internal | 4 | No |  | 0
2.00.06 | Dust to Dawn PIR points external | 18 | No |  | 0
2.01.00 | Supply , install, test and commission Outdoor Lighting Control Panel as specified for a fully operational, tested and commissioned system inclusive of all material, conduit, connections, cabling to between control panels and terminations as follows:
2.01.01 | Outdoor Lighting Control Panel | 1 | No |  | 0
2.01.02 | Wiring and setting up of system to the satisfaction of the architect | 1 | Lump Sum |  | 0
2.02.00 | Supply and fix the following luminaires according to drawings and specifications. Light poles, bollards, and perimeter lighting complete with adequate base or wall support to be included.
2.02.01 | Type A | 263 | No |  | 0
2.02.02 | Type A ( E) | 91 | No |  | 0
2.02.03 | Type B | 13 | No |  | 0
2.02.04 | Type C | 39 | No |  | 0
2.02.05 | Type C (E) | 14 | No |  | 0
2.02.06 | Type D | 45 | No |  | 0
2.02.07 | Type D ( E) | 8 | No |  | 0
2.02.08 | Type E | 0 | No |  | 0
2.02.09 | Type F | 10 | No |  | 0
2.02.10 | Type G (E) | 16 | No |  | 0
2.02.11 | Type H | 38 | No |  | 0
2.02.12 | Type H IP 65 | 1 | No |  | 0
2.02.13 | Type LED strip | 5 | m |  | 0
2.02.14 | Type W | 16 | No |  | 0
2.02.15 | Photoluminscent EXIT sign | 66 | No |  | 0
2.03.00 | Supply, fix and connect the following switching devices 10 Amp rating per gang according to drawings and specifications:
2.03.01 | Switch One Gang PVC | 54 | No |  | 0
| Sub-total carried forward to next page |  |  |  | 0
| Carried forward from previous page |  |  |  | 0
2.03.02 | Switch Two Gang PVC | 61 | No |  | 0
2.03.03 | Switch Three Gang PVC | 7 | No |  | 0
2.03.04 | Switch Three Gang dimmable PVC | 1 | No |  | 0
2.03.04 | Switch Two Gang IP 66 | 1 | No |  | 0
2.03.05 | Internal PIR detector | 10 | No |  | 0
2.03.06 | PIR detector IP 66 | 3 | No |  | 0
2.03.07 | Dusk to Dawn PIR Switch and control in local DBs | 1 | No |  | 0
2.04.00 | Supply and fix the following power devices including chasing, any coring, conduit and conduit fittings, wiring and connecting up to distribution board according to drawings and specifications:
2.04.01 | Double switched socket outlets 13A PVC | 222 | No |  | 0
2.04.02 | Switched socket outlets 13A IP 66 | 0 | No |  | 0
2.04.03 | Double Pole Switch, fused, with LED/Neon indicator, 13A PVC | 160 | No |  | 0
2.04.04 | Isolating switch 2 pole IP 65 16A | 2 | No |  | 0
2.04.05 | Isolating switch 4 pole 16A | 0 | No |  | 0
2.04.06 | Isolating switch 4 pole IP 65 16A | 6 | No |  | 0
2.04.07 | Isolating switch 4 pole IP 65 32A | 2 | No |  | 0
2.04.08 | Socket outlet 5 pin, 16A socket outlet c/w isolator IP 65 | 1 | No |  | 0
2.04.09 | Socket outlet 5 pin, 32A socket outlet c/w isolator IP 65 | 3 | No |  | 0
2.04.10 | Service box as specified | 1 | No |  | 0
2.05.00 | Supply, fix and terminate all cable terminations including glanding of incomer cable, the following Distribution Boards, including all accessories as per DB schedules
2.05.01 | DB - 1 | 1 | Lump Sum |  | 0
2.05.02 | DB - 1,1 | 1 | Lump Sum |  | 0
2.05.03 | DB - 1,2 | 1 | Lump Sum |  | 0
2.05.04 | DB - 1,3 | 1 | Lump Sum |  | 0
2.05.05 | DB - 1,4 | 1 | Lump Sum |  | 0
2.05.06 | DB - 1,5 | 1 | Lump Sum |  | 0
2.05.07 | DB - 1,6 | 1 | Lump Sum |  | 0
2.05.08 | DB - 1,7 | 1 | Lump Sum |  | 0
| Sub-total carried forward to next page |  |  |  | 0
| Carried forward from previous page |  |  |  | 0
2.05.09 | DB - 1,8 | 1 | Lump Sum |  | 0
2.05.10 | DB - 1,8,1 to DB-1,8,5 Bedrooms | 5 | Lump Sum |  | 0
2.05.11 | DB - 1,9 | 1 | Lump Sum |  | 0
2.05.12 | DB - 1,9,1 and DB-1,9,2 ( lifts) | 2 | Lump Sum |  | 0
2.05.13 | DB - 1,10 (kitchen) | 1 | Lump Sum |  | 0
2.05.14 | DB - 1,11 | 1 | Lump Sum |  | 0
2.06.00 | Supply and lay or pull through existing underground sleeves the following power copper conductors in trench or fixed direct or on galvanized cable tray including terminations, glanding etc for a complete installation.: Trenching, sleeves, cable trays not included in this item.
2.06.01 | 5cx 35.0mm2 XLPE/SWA/Cu from Generator to Change over switch, from Enemalta to change over, change over to DB 1, Power factor control unit | 50 | m |  | 0
2.06.02 | 5cx 10.0mm2 PVC/PVC RG7 from DB I to DB 1,1; 1,2; 1,3; 1,4; 1,5; 1,6; 1,7; 1,8; 1,9 etc | 230 | m |  | 0
2.06.03 | 5cx 16.0mm2 PVC/PVC RG7 from DB I to DB 1,10; 1,11 and power factor correction plant etc | 200 | m |  | 0
2.06.04 | 5cx 6.0mm2PVC/PVC FG7 to sub DBs and final circuits | 60 | m |  | 0
2.06.05 | 5cx 6.0mm2 XLPE/SWA/Cu to AC units, pumps etc | 130 | m |  | 0
2.06.04 | 5cx 4.0mm2PVC/PVC FG7 to final circuit | 50 | m |  | 0
2.06.06 | 3cx 6.0mm2 PVC/PVC FG7R from DB I,8 to DB 1,8,1; 1,8,2; 1,8,3; 1,8,4; 1,8,5 etc | 100 | m |  | 0
2.06.07 | PH 120 1.5mm2 + E to fire alarm panel | 1 | Lump Sum |  | 0
2.06.08 | 4cx 4.0mm2 XLPE/SWA/Cu from DB to service box etc | 1 | Lump Sum |  | 0
2.07.00 | Supply and install the following equipment according to drawings and specifications:
2.07.01 | Hand driers complete with drain | 19 | No |  | 0
2.08.00 | Supply, transport, install, test and commission the Standby Generator
2.08.01 | 85kVA Generator including automatic change over. Generator must have fuel tank integrated and also all necessary manfolds/ ducts for fresh air intake and exhaust | 1 | Lump Sum |  | 0
2.08.02 | Grounding and bonding to Genset to the MET | 1 | Lump Sum |  | 0
2.08.03 | RSJ's and plinth, to support Generator and contaiment to be approved by architect, and as required by Authority | 1 | Lump Sum
| Sub-total carried forward to next page |  |  |  | 0
| Carried forward from previous page |  |  |  | 0
2.08.04 | Control wiring for automatic starting and complete system | 1 | Lump Sum
2.08.05 | Certification of complete system and Authority's permit | 1 | Lump Sum
2.09.00 | Supply, transport, install, test and commission PV solar panel System
2.09.01 | 300 Watt solar panels | 66 | No |  | 0
2.09.02 | Three phase invertors | 1 | Lump Sum |  | 0
2.09.03 | Heavy duty steel supporting structures, to be approved by architect. | 1 | Lump Sum
2.09.04 | Equipment, switchgear, distribution boards, controls and wiring for a fully functional system | 1 | Lump Sum
2.09.05 | Certification of complete system, and REWS permit | 1 | Lump Sum
2.09.06 | 5cx 25.0mm2 FG7 from Solar Panel to Meter Room | 50 | m |  | 0
2.10.00 | Supply, install, test and commission the 40kVAr Power Factor Units
2.10.01 | 50kVAr Power Factor Control unit | 1 | Lump Sum |  | 0
2.11.00 | Supply and install the following cable management including all bracketing, fittings and accessories according to drawings and specifications:
2.11.01 | Management u-PVC trunking including covers, corners and edges 100x50mm according to drawings and specifications. | 20 | m |  | 0
2.11.02 | PVC trunking 40x25mm including covers, corners and edges | 35 | m |  | 0
2.11.03 | Galvanised steel trunking 50x50mm c/w cover | 0 | m |  | 0
2.11.04 | Galvanised steel trunking 300x50mm c/w cover | 540 | m |  | 0
2.11.05 | Galvanised cable basket 150x50mm | 200 | m |  | 0
2.11.06 | Galvanised cable basket 200x50mm | 190 | m |  | 0
2.11.07 | Galvanised cable basket 300x50mm | 30 | m |  | 0
2.11.08 | 25mm galvainsed steel conduits for external surface installation, and for plant areas, complete with IP 65 accessories for external installation for LV and ELV systems as required | 1 | Lump Sum |  | 0
2.11.09 | 20/25mm PVC conduits as required for LV and ELV systems | 1 | Lump Sum |  | 0
| Sub-total carried forward to next page |  |  |  | 0
| Carried forward from previous page |  |  |  | 0
2.12.00 | Supply and install the following Underground Conduits complete with accessories according to drawings and specifications:
2.12.01 | PVC inspection box complete with 200mm x 200mm cover | 5 | No |  | 0
2.12.02 | All trenching and sleeves for, perimeter lighting, supply and ELV systems etc as indicated on drawings. | 1 | Lump Sum |  | 0
2.12.03 | Trenching works for Enemalta supply cable including, permits, fees, slabs, cable marking, backfilling and making good etc. as per route indicated on drawing. Contractors to be approved for such works by Transport Malta and Enemalta. | 1 | Lump Sum |  | 0
2.13.00 | Supply, install, test and commission the following Miscellaneous Systems
2.13.01 | Grounding and bonding to earth of panels, trunking, mesh tray | 1 | Lump Sum |  | 0
2.13.02 | Design, supply, install test and commission complete electrical earthing systems. Rate to include earth electrode, bentonite, wiring etc for a complete system | 1 | Lump Sum |  | 0
2.13.03 | Engage and assist Enemalta to connect with electrical supply including provision of electricity meter | 1 | Lump Sum |  | 0
2.13.04 | Penetrations, chasing in walls as required and sealing thereof | 1 | Lump Sum |  | 0
2.14.00 | Testing and Commissioning of Electrical Installation
2.14.01 | Supply of complete hand over documentation signed by Engineer as specified | 1 | Lump Sum |  | 0
2.14.02 | Test, commission and handover systems to client | 1 | Lump Sum |  | 0
2.14.03 | Operation and Maintenance Manual | 1 | Lump Sum |  | 0
2.14.04 | Training of client employees | 1 | Lump Sum |  | 0
2.14.05 | Provision of Maintenance and Repair Contract covering the necessary visits according the suppliers' recommendations during the twenty-four (24) months Defects Liability Guarantee Period and thirty-six (36) months additional period | 1 | LS |  | 0
Note: To provide a Maintenance Programme which includes device type and frequency of visit
| Total for Bill no. 2 for Electrical Power and Lighting Installations carried forward to Summary of Bills |  |  |  | 0

## BOQ 01
TENDER FOR THE SUPPLY AND INSTALLATION OF MECHANICAL AND ELECTRICAL SERVICES USING ENVIRONMENTAL FRIENDLY PRODUCTS AT CARITAS COMMUNITY CENTRE, HAMRUN
Item | Description | Qty | Unit | Unit Rate including Taxes, Other Duties & Discounts but excluding of VAT € | Total Amount including Taxes, Other Duties & Discounts but excluding of VAT €
Bill No 1: Preliminary Items |  |  |  | € | €
1.00.00 | Health and Safety
1.01.01 | Allow for conformity to H&S requirements in conformity to local legislation | 1 | Lump Sum |  | 0
1.01.02 | H&S apparel to all M&E workers on site | 1 | Lump Sum |  | 0
1.01.03 | Allow for keeping site clean from debris and waste arising from M&E related activities | 1 | Lump Sum |  | 0
1.01.04 | Allow for the provision of skips for separation of rubbish and carting away | 1 | Lump Sum |  | 0
1.01.00 | Fire Barrier
1.01.01 | Allow for the provision of fire barrier ratings as per fire safety drawing. Walls and barriers should be made good with plaster and paint and when this is not possible, contractor is to utilise fire collars and fire sealing compounds | 1 | Lump Sum
1.02.00 | Temporary Installations
1.02.01 | Allow for the provision of temporary electrical distribution systems for the use of all contractors | 1 | Lump Sum |  | 0
1.02.02 | Allow for 3 monthly electrical certification of temporary electrical installation | 1 | Lump Sum |  | 0
1.02.03 | Allow for the provision of workers' facilities and storage | 1 | Lump Sum |  | 0
1.02.04 | Allow for the provision of temporary water supply, drainage, basic fire safety for premises and workers' facilities and H&S. | 1 | Lump Sum |  | 0
1.02.05 | Allow for 3 monthly certification of temporary mechanical installations | 1 | Lump Sum |  | 0
1.03.00 | Miscellaneous
1.03.01 | Submittal of Quality Manual, Method Statements for installation, inspection and testing | 1 | Lump Sum |  | 0
1.03.02 | Submittal of literature samples and works samples as specified | 1 | Lump Sum |  | 0
1.03.03 | Submittal of detailed installation drawings and engineering calculations for approval | 1 | Lump Sum |  | 0
1.03.04 | Site coordination for all contractors and marking on site | 1 | Lump Sum |  | 0
1.03.05 | Labelling of equipment, panels, fittings, accessories as specified | 1 | Lump Sum |  | 0
1.03.06 | Allow for forthightly progress reports, and as required site meetings, supervision and management of MEP works | 1 | Lump Sum |  | 0
| Total for Bill No. 1 for Preliminaries carried forward to Summary of Bills |  |  |  | 0

## SUMMARY OF BILLS
TENDER FOR THE SUPPLY AND INSTALLATION OF MECHANICAL AND ELECTRICAL SERVICES USING ENVIRONMENTAL FRIENDLY PRODUCTS AT CARITAS COMMUNITY CENTRE, HAMRUN
|  |  | Lot No. 1 | Lot No. 2
SUMMARY OF BILLS |  | Total Amount including Taxes, Other Duties & Discounts but excluding of VAT | Amount Inclusive of VAT and all other charges applicable. | Amount Inclusive of VAT and all other charges applicable.
|  | € | € | €
Bill No.1: | Preliminaries | 0 | #REF! | #REF!
Bill No.2: | Electrical Power and Lighting Installations | 0 | #REF! | #REF!
Bill No.3: | HVAC | 0 | #REF! | #REF!
Bill No.4: | Fire Fighting Systems | 0 | #REF! | #REF!
Bill No.5: | Hot and Cold Water Systems | 0 | #REF! | #REF!
Bill No.6: | Lightning Protection | 0
Bill No.7: | Passenger Lift | 0
Bill No.8: | ELV Systems | 0
Bill No.9: | Day Works | 0
GRAND TOTAL EXCLUDING VAT and all expenses as may be applicable CARRIED FORWARD TO FINANCIAL SECTION OF ONLINE TENDER RESPONSE). |  | 0 | #REF! | #REF!
Company:
Address:
Telephone:
e-mail:
Trading License No:
VAT No: